## Slide 1
Zygo labwork / GUI development
Python 3.10 minimum
IDS-peak (2.8 or higher) / IDS Sofware Suite (4.95 or higher)
Development by LEnsE
Start : 31/05/2024
Main contributors
Julien VILLEMEJANE
Dorian MENDES (2024)

## Slide 2
GUI Structure – Main Window
Zygo Labwork
Menu Options
or
Results
SubMenu Options
or
Results
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
?
Camera
Piezo
Indicators ?

## Slide 3
GUI Structure – Main Window / classes
Zygo Labwork
Menu Options
or
Results
SubMenu Options
or
Results
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
Camera
Piezo
MainWindow
TitleWidget
MenuWidget
CameraWidget
ResultsWidget
MenuOptionsWidget
SubMenuOptionsWidget
Developer Info

## Slide 4
GUI Structure – Main Window
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
Options
Camera Default Parameters
Calibration
nm / lambda…
Units
4
N
150
f(mm)
English
Language
12
Exposure time (ms)
Default Parameters / Camera
Update
10
FPS
Really important ?
43
Black Level

## Slide 5
GUI Structure – Main Window
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
Options
Camera Default Parameters
Calibration
nm / lambda…
Units
4
N
150
f(mm)
English
Language
Calibration
Start
????

## Slide 6
GUI Structure – Camera Settings
Zygo Labwork
Camera Parameters
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
Camera Settings
Exposure Time: xx ms
FPS: xx
Black Level: xx
Connect
COM….
Really important ?

## Slide 7
GUI Structure – Masks
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
Masks selection
Move
Circle
Rectangle
Polygon
Resize
Erase
X
Apply the mask
X
Inverse the mask

## Slide 8
GUI Structure – Acquisition
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Camera image
Results (3D, etc.)
Options
Simple acquisition
Acquisition
Repeated acquisition
0.5
Wedge factor
X
Tilt
X
Defecos
X
Spherical aberration
X
Astimagtism
X
Coma
See (& save) images
Save phase
 | 1 | 2 | 3 | 4 | 5 | Mean
PV |  |  |  |  |  | 
RMS |  |  |  |  |  | 
3D
Output
Print all results

## Slide 9
GUI Structure – Analyzes
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Results (3D, etc.)
Options
Seidel & Zernike Coefficients
Analyzes
Spot Diagram
PSF
MTF
4.5
N
150
f’ (mm)

## Slide 10
GUI Structure – Analyzes
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Results (3D, etc.)
Options
Seidel & Zernike Coefficients
Analyzes
Spot Diagram
PSF
MTF
4.5
N
150
f’ (mm)

## Slide 11
GUI Structure – Analyzes
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Results (3D, etc.)
Options
Seidel & Zernike Coefficients
Analyzes
Spot Diagram
PSF
MTF
4.5
N
150
f’ (mm)

## Slide 12
GUI Structure – Analyzes
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Results (3D, etc.)
Options
Seidel & Zernike Coefficients
Analyzes
Spot Diagram
PSF
MTF
4.5
N
150
f’ (mm)

## Slide 13
GUI Structure – Analyzes
Zygo Labwork
Camera Settings
Menu
Masks
🇬🇧
Acquisition
Analyzes
Results (3D, etc.)
Options
Seidel & Zernike Coefficients
Analyzes
Spot Diagram
PSF
MTF
4.5
N
150
f’ (mm)

## Slide 14
Python Class Structure
Camera IDS
Logo LEnsE
Options in different langages
ZygoLabApp
CameraChoice
CameraIds
BarMenu
PiezoControl
Calculations ?
Gui Widgets ?
DictLang
Developer Info